ZFP Control Module Naming Template Sheet (for module Z41)

1. Type over the text below – if translating, the mandatory EN54 indicator text (anything that is not marked Optional Text) must be replaced with appropriate translated text. In the UK, mandatory indicator text should not be altered.

|  | Fire |  | Fault | Disablement |  | Test |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Power |  | System Fault |
| --- | --- | --- |
| Supply Fault |  | Sounder Fault |
| Network Fault |  | Delays Running |
| Optional Text |  | Sounders Disabled |
| Optional Text |  | Optional Text |
| Access |  | Optional Text |

2. Once complete, print the page (ensure page set-up is set at A4 100% size)

3. Cut out the insert strips using the keylines provided.

4. Insert the strips into the ZFP Control Module as required.